## Instructions
Instructions
Thank you for your interest in responding to this solicitation. Below are the instructions for filling out this required document.
"Contact Info" Tab
1 | Bidder will fill in their company's registered name in the yellow cell next to "Company Name:"
2 | Bidder will fill in the remaining yellow cells with their name, business address, phone number, email address, and website address.
3 | Should additional or secondary contacts be needed, Bidder may fill in the name, phone number, and email address of these additional contacts in the yellow cells provided. Listing additional contacts is not required.
"Schedule of Values" Tab
1 | Bidder will review each requirement and respond in the corresponding yellow cells under Column C with the lumpsum cost, unless otherwise instructed. Bidder may enter comments in Column G, if applicable.

## Contact Info
Contact Info
Main Contact Information (required)
Company Name:
Number of Years in Business:
Business Contact Name:
Street Address:
City:
State:
Zip Code:
Business Contact Phone:
Business Contact Email:
Website Address:
Additional Contact Information (optional)
Business Contact Name:
Business Contact Phone:
Business Contact Email:

## Schedule of Values
ITB 46-2025 Generator Installation (Tampa)
EXHIBIT A - SCHEDULE OF VALUES*
Project Name: | 18427 Hancock Bluff Rd. Dade City FL. 33525
LINE ITEM NO. | LINE ITEM DESCRIPTION | PRICE | UOM | QUANTITY | EXTENDED PRICE | COMMENTS (IF APPLICABLE)
1.00 | Generator
1.01 | Furnish one (1) new Generac, 120/240 volt, 60KW & 100KW, 1800 RPM, 1-phase Liquid Propane Standby Generator Model RG06045NAX. Or RG10090NAC |  | Lumpsum | 1
1.02 | Furnish and install one (1) new 500 Gallon LP Tank, Buried, Anchored with Anode Bag (20 gallons of fuel for testing) |  | Each | 1
1.03 | Furnish Two (2) new NEMA Rated 150 ATS & 300ATS amp Automatic Transfer Switch |  | Lumpsum | 1
1.04 | Project Lead Time | N/A | Calendar Days |  | N/A | Includes ordering and receipt of materials, building permit, installation, and final clean-up after receipt of order (ARO).
2 | General Site Requirements
2.01 | Start-Up and Mobilization/Dumpster Rental/Trash Removal/Temporary Bathrooms/Final Clean Up |  | Lumpsum | 1
3 | Supervision
3.01 | Project Management, Supervisor, and Support Staff |  | Lumpsum | 1
4 | Site Preparation
4.01 | Site Preparation (including removal of existing generator if applicable) |  | Each | 1
5 | Concrete Pad
5.01 | Furnish and install one (1) new 6-inch thick by 4’ x 9’ Pre-Cast Monolithic Concrete pad rated for 3000 lb. capacity for the generator with #5 rebar 12 inches on center |  | Lumpsum | 1
6 | Generator Installation
6.01 | Generator Installation Services (includes delivery and installation on concrete pad) and electrical installation, to include all wiring connections and wire sizes to specs, including control wires from new transfer switch to generator |  | Lumpsum | 1
7 | Start Up & Test Installed Generator
7.01 | Generator start up service, generator and transfer switch tests, including twenty (20) gallons of propane for start up |  | Lumpsum | 1
TOTAL: |  |  |  |  | 0
*NOTES:
- SOV MUST BE COMPLETED IN FULL TO BE ELIGIBLE FOR AWARD, NO EXCEPTIONS.
_______________________________________
Corporate Officer or Owner (Signature) |  | Date
_______________________________________
Corporate Officer or Owner (Print)